Classification by product type(Rubber Insulated)　　　　　　　 Textile braided rubber cords

|  |  |  |  |
| --- | --- | --- | --- |
| Factor | | Classification | |
| A | Rated voltage(limited silicon rubber mixture insulation） | 1 | 150V or less |
| 2 | Exceeding 150V |
| B | Insulation main materials | 1 | Natural rubber mixture |
| 2 | Chloroprene rubber mixture |
| 3 | Ethylene propylene rubber mixture |
| 4 | Chlorosulfonated polyethylene rubber mixture |
| 5 | Silicon rubber mixture |
| 6 | Others |
| C | Outer braid | 1 | With outer braid |
| 2 | Without outer braid |
| D | Conductor type | 1 | Type A |
| 2 | Others |
| E | Core structure(exclude single-core rubber cord） | 1 | Same |
| 2 | Different |
| F | Asbestos fiber | 1 | With asbestos fiber |
| 2 | Without asbestos fiber |

Note：Please mark the factor symbol and classification number　　　　　　　　　　 　　　GM05-rev